## CRData
[10 empty] | Average Rating Force (gf) |  |  |  | Cut Resistance Performance Level
Manufacturer |  |  |  | Sequence # | [5 empty] | 0
Test Date |  |  |  | Test Lab/Facility
Product Name | [9 empty] | 0 Samples Tested
Product Description | [9 empty] | ASTM F2992-23 |  |  |  | ANSI/ISEA 105-2024
Temperature |  |  | Humidity |  |  |  | Operator |  |  | TDM-100 |  |  |  | Section 5.1.1
[5 empty] | TRUE | 1 |  |  |  | TRUE | 1 |  |  |  | TRUE | 1
|  | Sample 1 |  |  |  |  | Sample 2 |  |  |  |  | Sample 3
|  |  | Rating Force (gf) |  |  |  |  | Rating Force (gf) |  |  |  |  | Rating Force (gf)
|  |  | #VALUE! |  |  |  |  | #VALUE! |  |  |  |  | #VALUE!
|  | Load (gf) | Distance (mm) | Norm. Distance (mm) | Log Norm Distance (logmm) | (xi - X)2 | Load (gf) | Distance (mm) | Norm. Distance (mm) | Log Norm Distance (logmm) | (xi - X)2 | Load (gf) | Distance (mm) | Norm. Distance (mm) | Log Norm Distance (logmm) | (xi - X)2
Calibration Cut (before) |  | 500 |  |  |  |  | 500 |  |  |  |  | 500
Sample Cuts | 1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
Calibration Cut (after) |  | 500 |  | test |  |  | 500 |  |  |  |  | 500
Results |  |  | Sharpness Correction | 1 |  |  |  | Sharpness Correction | 1 |  |  |  | Sharpness Correction | 1
|  |  | Reference Distance | 20 | mm |  |  | Reference Distance | 20 | mm |  |  | Reference Distance | 20 | mm
|  |  | Rating Force |  | gf |  |  | Rating Force |  | gf |  |  | Rating Force |  | gf
|  |  | 95% Confidence Interval | #VALUE! | gf |  |  | 95% Confidence Interval | #VALUE! | gf |  |  | 95% Confidence Interval | #VALUE! | gf
|  |  | Standard Deviation |  | gf |  |  | Standard Deviation |  | gf |  |  | Standard Deviation |  | gf
|  |  | R-Squared | #VALUE! |  |  |  | R-Squared | #VALUE! |  |  |  | R-Squared | #VALUE!
Optional Sample Properties |  |  | Basis Weight |  | g/sq.m. |  |  | Basis Weight |  | g/sq.m. |  |  | Basis Weight |  | g/sq.m.
|  |  | Thickness |  | mm |  |  | Thickness |  | mm |  |  | Thickness |  | mm
|  |  | Conditioned Glove Wt. |  | Grams |  |  | Conditioned Glove Wt. |  | Grams |  |  | Conditioned Glove Wt. |  | Grams
|  |  | m | #VALUE! | #VALUE! | r |  | m | #VALUE! | #VALUE! | r |  | m | #VALUE! | #VALUE! | r
Requested by: |  |  | b | #VALUE! | #VALUE! | A |  | b | #VALUE! | #VALUE! | A |  | b | #VALUE! | #VALUE! | A
|  | 0 | #VALUE! | 0 | -100 | 20 | 0 | #VALUE! |  |  | 20 | 0 | #VALUE! |  |  | 20
|  | 0 | #VALUE! | 940 | 1040 | 20 | 0 | #VALUE! |  |  | 20 | 0 | #VALUE! |  |  | 20
|  | 0 | #VALUE! |  | 100 |  | 0 | #VALUE! |  |  |  | 0 | #VALUE!
Technician: |  | 0 | #VALUE! |  |  | #N/A | 0 | #VALUE! |  |  | #N/A | 0 | #VALUE! |  |  | #N/A
|  | 0 | #VALUE! |  |  | #N/A | 0 | #VALUE! |  |  | #N/A | 0 | #VALUE! |  |  | #N/A
|  | 0 | #VALUE! |  |  |  | 0 | #VALUE! |  |  |  | 0 | #VALUE!
|  | 0 | #VALUE! | 20 | 0 |  | 0 | #VALUE! | 20 | 0 |  | 0 | #VALUE! | 20 | 0
Prepared By: |  | 0 | #VALUE! | 20 | 20 |  | 0 | #VALUE! | 20 | 20 |  | 0 | #VALUE! | 20 | 20
|  | 0 | #VALUE! |  |  |  | 0 | #VALUE! |  |  |  | 0 | #VALUE!
|  | 0 | #VALUE! |  |  |  | 0 | #VALUE! |  |  |  | 0 | #VALUE!
|  | 0 | #VALUE! |  |  |  | 0 | #VALUE! |  |  |  | 0 | #VALUE!
Updated By:
|  | #N/A | #VALUE! |  |  |  | #N/A | #VALUE! |  |  |  | #N/A | #VALUE!
|  | #N/A | #VALUE! |  |  |  | #N/A | #VALUE! |  |  |  | #N/A | #VALUE!
|  | #N/A | #VALUE! |  |  |  | #N/A | #VALUE! |  |  |  | #N/A | #VALUE!
|  | #N/A | #VALUE! |  |  |  | #N/A | #VALUE! |  |  |  | #N/A | #VALUE!
|  | #N/A | #VALUE! |  |  |  | #N/A | #VALUE! |  |  |  | #N/A | #VALUE!
|  | #N/A | #VALUE! |  |  |  | #N/A | #VALUE! |  |  |  | #N/A | #VALUE!
|  | #N/A | #VALUE! |  |  |  | #N/A | #VALUE! |  |  |  | #N/A | #VALUE!
|  | #N/A | #VALUE! |  |  |  | #N/A | #VALUE! |  |  |  | #N/A | #VALUE!
|  | #N/A | #VALUE! |  |  |  | #N/A | #VALUE! |  |  |  | #N/A | #VALUE!
|  | #N/A | #VALUE! |  |  |  | #N/A | #VALUE! |  |  |  | #N/A | #VALUE!
|  | #N/A | #VALUE! |  |  |  | #N/A | #VALUE! |  |  |  | #N/A | #VALUE!
|  | #N/A | #VALUE! |  |  |  | #N/A | #VALUE! |  |  |  | #N/A | #VALUE!
|  | #N/A | #VALUE! |  |  |  | #N/A | #VALUE! |  |  |  | #N/A | #VALUE!
|  | #N/A | #VALUE! |  |  |  | #N/A | #VALUE! |  |  |  | #N/A | #VALUE!
|  | #N/A | #VALUE! |  |  |  | #N/A | #VALUE! |  |  |  | #N/A | #VALUE!
A MAXIMUM DEVIATION OF 20% IS ALLOWED IN ORDER TO GIVE A POSITIVE CONFIRMATION OF THE CLASSIFICATION INDICATED
Version 1.0rc1 | 1
The testing herein is based upon accepted industry practice as well as the test method listed. Test results reported herein do not apply to samples other than those tested.
| Slope (b1) | #VALUE! | #VALUE! | Intercept (b0) |  | Slope (b1) | #VALUE! | #VALUE! | Intercept (b0) |  |  | #VALUE! | #VALUE! | Intercept (b0)
| se1 | #VALUE! | #VALUE! | se0 |  | se1 | #VALUE! | #VALUE! | se0 |  |  | #VALUE! | #VALUE! | se0
| R2 | #VALUE! | #VALUE! | sey |  | R2 | #VALUE! | #VALUE! | sey |  |  | #VALUE! | #VALUE! | sey
| F | #VALUE! | #VALUE! | df |  | F | #VALUE! | #VALUE! | df |  |  | #VALUE! | #VALUE! | df
| ssreg | #VALUE! | #VALUE! | ssresid |  | ssreg | #VALUE! | #VALUE! | ssresid |  |  | #VALUE! | #VALUE! | ssresid
| n | 15 |  |  |  | n | 15 |  |  |  |  | 15
| Mean Load | #DIV/0! |  |  |  | Mean Load | #DIV/0! |  |  |  |  | #DIV/0!
| Σ(xi - X)2 | 0 |  |  |  | Σ(xi - X)2 | 0 |  |  |  |  | 0
| MSE (mean square error) | #VALUE! |  |  |  | MSE (mean square error) | #VALUE! |  |  |  |  | #VALUE!
| Load | Level
| 200 | A1 | 0
| 500 | A2 | 0
| 1000 | A3 | 0
| 1500 | A4 | 0
| 2200 | A5 | 0 Samples Tested
| 3000 | A6
| 4000 | A7
| 5000 | A8
| 6000 | A9
ENTER DATA HERE
ENTER DATA HERE
ENTER DATA HERE
ENTER DATA HERE
ENTER DATA HERE
ENTER DATA HERE
ENTER DATA HERE
Update Chart